# FINAL ASSESSMENT QUESTIONS

Course: English for Specific Purposes (Professional English)
Speciality: Information and Measurement Technologies
Number of questions: 60

### Part 1. Fundamentals of Information and Measurement Technologies

- What are information and measurement technologies?

- What is the role of measurement technologies in modern industry?

- What are the main types of measurements?

- What is the difference between direct and indirect measurements?

- What is the difference between analogue and digital measurement systems?

- What are the main characteristics of measuring instruments?

- What is measurement accuracy and why is it important?

- What is measurement precision?

- What is measurement error and what are its main types?

- What is the International System of Units (SI)?

### Part 2. Measuring Instruments and Equipment

- What types of measuring instruments are commonly used in industry?

- What is a thermometer and how does it work?

- What is a pressure gauge and where is it used?

- What is a voltmeter and what does it measure?

- What is an ammeter and how is it connected to an electrical circuit?

- What is a multimeter and what functions does it perform?

- What is an oscilloscope and what is it used for?

- What is a sensor and what are its main functions?

- What is the difference between a sensor and a transducer?

- Why is regular calibration of measuring instruments necessary?

### Part 3. Sensors and Measurement Systems

- What are the main types of industrial sensors?

- How do temperature sensors work?

- What is the difference between contact and non-contact measurement?

- What are optical sensors and where are they used?

- What is a pressure sensor and how does it operate?

- What are displacement and position sensors?

- What is a flow meter and what does it measure?

- What is a level sensor and where is it used?

- What is a measurement system and what are its main components?

- How do sensors convert physical quantities into electrical signals?

### Part 4. Information Technologies and Data Processing

- What is data acquisition and why is it important?

- What is the difference between data and information?

- How are measurement data collected and processed?

- What is an analogue-to-digital converter (ADC)?

- What is a digital-to-analogue converter (DAC)?

- What is signal processing?

- What is the difference between analogue and digital signals?

- What is computer-based measurement?

- What software is commonly used for data analysis and measurement?

- How are computers used in modern measurement systems?

### Part 5. Automation, Control and Modern Technologies

- What is industrial automation and what are its main advantages?

- What is an automatic control system?

- What is the role of a programmable logic controller (PLC) in industrial automation?

- What is the difference between open-loop and closed-loop control systems?

- What is feedback in an automatic control system?

- What is the Internet of Things (IoT) and how is it used in measurement technologies?

- What is remote monitoring and how does it work?

- What is artificial intelligence and how can it improve measurement processes?

- What is the role of robotics in modern industrial production?

- How do smart sensors improve the efficiency of industrial systems?

### Part 6. Professional Practice and Safety

- What are the main stages of performing a measurement procedure?

- What safety rules should be followed when working with measuring instruments?

- Why is electrical safety important when using measurement equipment?

- How should measuring instruments be stored and maintained?

- What is metrology and why is it important?

- What is standardisation and how does it influence measurement quality?

- Why is documentation of measurement results necessary?

- What professional skills should a specialist in information and measurement technologies have?

- What are the main challenges in the development of modern measurement technologies?

- Why is knowledge of English important for specialists in information and measurement technologies?